## README
Version | Release Date | Added/Changed Section | Editor
1 | 2025-01-02 | Initial Release | Johnny Wang

## Reagent
No. | Panel | Abb. | Series | P/N | REF | Product | Package | Remark | IVDR Classification | Temperature Limit
A01 | Consumables | CS | Consumables | 105-004274-A0 | 105-004274-00 | Substrate solution | 4×115 mL |  | Class A | 2°C to 8°C
A01 | Consumables | CS | Consumables | 105-009044-A0 | 105-009044-00 | Substrate solution | 4×75 mL |  | Class A | 2°C to 8°C
A02 | Consumables | SD | Consumables | 105-004628-A0 | 105-004628-00 | Sample Diluent | 6×8 mL |  | Class A | 2°C to 8°C
A02 | Consumables | SD | Consumables | 105-004276-A0 | 105-004276-00 | Sample Diluent | 2×30 mL |  | Class A | 2°C to 8°C
A03 | Consumables | SDS | Consumables | 105-009141-A0 | 105-009141-00 | System Detection Solution | Every kit includes System Detection Solution A (5×3mL) and System Detection Solution B (1×5 mL) | For Installation Only | Class A | 2°C to 8°C
A04 | Consumables | SWS | Consumables | 105-009143-A0 | 105-009143-00 | System Wash Solution | 4×20 mL | DG Item, Multiple Order Quantities is 4, For Installation Only | Class A | 15°C to 30°C
A05 | Consumables | WB | Consumables | 105-004552-A0 | 105-004552-00 | Wash Buffer | 1×10 L |  | Class A | 2°C to 35°C
A06 | Consumables | Folate | Consumables | 105-011258-A0 | 105-011258-00 | Red Blood Cell Folate Releasing Reagent | 2×50 mL |  | Class A | 8°C to 30°C
A07 | Consumables | CD80 | Consumables | 105-000748-A0 | 105-000748-00 | CD80 Detergent | 1×1 L | DG Item, CL-1000i/1200i/2000i | Class A | 2°C to 35°C
A08 | Consumables | PROBE CLEANSER | Consumables | 105-002225-A0 | 105-002225-00 | PROBE CLEANSER | 50 mL×1 | DG Item, Multiple Order Quantities is 20, CL-900i/960i/1000i/2600i/6000i/8000i | Class A | 2°C to 30°C
A09 | Consumables | Cuvette | Consumables | 115-035753-00 | N/A | Reaction Cuvette for Chemiluminescence Immunoassay Analyzer | 21*2*88=3696 pcs/box | CL-900i/960i/1000i/1200i Reaction Cuvettes | Class A | N/A
A09 | Consumables | Cuvette | Consumables | 115-025456-00 | N/A | Reaction Cuvette for Chemiluminescence Immunoassay Analyzer | 126*24=3024 pcs/box | CL-2000i Reaction Cuvettes | Class A | N/A
A09 | Consumables | Cuvette | Consumables | 115-049931-00 | N/A | Reaction Cuvette and Waster Bin for Chemiluminescence Immunoassay Analyzer | 5000 cuvettes | CL-2600i/6000i/8000i Reaction Cuvettes | Class A | N/A
B01 | Thyroid | FT3 | Reagent | 105-004208-A0 | 105-004208-00 | Free Triiodothyronine (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B01 | Thyroid | FT3 | Reagent | 105-004235-A0 | 105-004235-00 | Free Triiodothyronine (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B02 | Thyroid | FT3 | CAL | 105-004277-A0 | 105-004277-00 | Free T3 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B03 | Thyroid | FT4 | Reagent | 105-004209-A0 | 105-004209-00 | Free Thyroxine (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B03 | Thyroid | FT4 | Reagent | 105-004236-A0 | 105-004236-00 | Free Thyroxine (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B04 | Thyroid | FT4 | CAL | 105-004278-A0 | 105-004278-00 | Free T4 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B05 | Thyroid | T3 | Reagent | 105-004210-A0 | 105-004210-00 | Total Triiodothyronine (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B05 | Thyroid | T3 | Reagent | 105-004237-A0 | 105-004237-00 | Total Triiodothyronine (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B06 | Thyroid | T3 | CAL | 105-004279-A0 | 105-004279-00 | Total T3 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B07 | Thyroid | T4 | Reagent | 105-004211-A0 | 105-004211-00 | Total Thyroxine (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B07 | Thyroid | T4 | Reagent | 105-004238-A0 | 105-004238-00 | Total Thyroxine (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B08 | Thyroid | T4 | CAL | 105-004280-A0 | 105-004280-00 | Total T4 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B09 | Thyroid | TSH | Reagent | 105-004212-A0 | 105-004212-00 | Thyroid-Stimulating Hormone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B09 | Thyroid | TSH | Reagent | 105-004239-A0 | 105-004239-00 | Thyroid-Stimulating Hormone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B10 | Thyroid | TSH | CAL | 105-004281-A0 | 105-004281-00 | TSH Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B11 | Thyroid | Tg | Reagent | 105-005663-A0 | 105-005663-00 | Thyroglobulin (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B11 | Thyroid | Tg | Reagent | 105-005680-A0 | 105-005680-00 | Thyroglobulin (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B12 | Thyroid | Tg | CAL | 105-005914-A0 | 105-005914-00 | Thyroglobulin Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B13 | Thyroid | Thyroid Function Multi Control | QC | 105-007379-A0 | 105-007379-00 | Thyroid Function Multi Control (L) | 3×5.0 mL/vial | FT3, FT4, T3, T4, TSH, Tg | Class B | 2°C to 8°C
B13 | Thyroid | Thyroid Function Multi Control | QC | 105-007371-A0 | 105-007371-00 | Thyroid Function Multi Control (L) | 6×5.0 mL/vial | FT3, FT4, T3, T4, TSH, Tg | Class B | 2°C to 8°C
B13 | Thyroid | Thyroid Function Multi Control | QC | 105-007380-A0 | 105-007380-00 | Thyroid Function Multi Control (H) | 3×5.0 mL/vial | FT3, FT4, T3, T4, TSH, Tg | Class B | 2°C to 8°C
B13 | Thyroid | Thyroid Function Multi Control | QC | 105-007372-A0 | 105-007372-00 | Thyroid Function Multi Control (H) | 6×5.0 mL/vial | FT3, FT4, T3, T4, TSH, Tg | Class B | 2°C to 8°C
B14 | Thyroid | Anti-Tg | Reagent | 105-005664-A0 | 105-005664-00 | Antibody to thyroglobulin (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B14 | Thyroid | Anti-Tg | Reagent | 105-005681-A0 | 105-005681-00 | Antibody to thyroglobulin (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B15 | Thyroid | Anti-Tg | CAL | 105-005915-A0 | 105-005915-00 | Anti-Tg Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B16 | Thyroid | Anti-TPO | Reagent | 105-005665-A0 | 105-005665-00 | Antibody to thyroid peroxidase (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B16 | Thyroid | Anti-TPO | Reagent | 105-005682-A0 | 105-005682-00 | Antibody to thyroid peroxidase (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B17 | Thyroid | Anti-TPO | CAL | 105-005916-A0 | 105-005916-00 | Anti-TPO Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
B18 | Thyroid | Anti-thyroid Antibodies Control | QC | 105-005931-A0 | 105-005931-00 | Anti-thyroid Antibodies Control(L) | 3×2.0 mL/vial | Anti-Tg, Anti-TPO | Class B | 2°C to 8°C
B18 | Thyroid | Anti-thyroid Antibodies Control | QC | 105-005945-A0 | 105-005945-00 | Anti-thyroid Antibodies Control(L) | 6×2.0 mL/vial | Anti-Tg, Anti-TPO | Class B | 2°C to 8°C
B18 | Thyroid | Anti-thyroid Antibodies Control | QC | 105-005932-A0 | 105-005932-00 | Anti-thyroid Antibodies Control(H) | 3×2.0 mL/vial | Anti-Tg, Anti-TPO | Class B | 2°C to 8°C
B18 | Thyroid | Anti-thyroid Antibodies Control | QC | 105-005946-A0 | 105-005946-00 | Anti-thyroid Antibodies Control(H) | 6×2.0 mL/vial | Anti-Tg, Anti-TPO | Class B | 2°C to 8°C
B19 | Thyroid | rT3 | Reagent | 105-010692-A0 | 105-010692-00 | Reverse Triiodothyronine (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B19 | Thyroid | rT3 | Reagent | 105-010719-A0 | 105-010719-00 | Reverse Triiodothyronine (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B20 | Thyroid | rT3 | CAL | 105-010213-A0 | 105-010213-00 | rT3 Calibrators | C0:1×1.0 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class B | 2°C to 8°C
B21 | Thyroid | rT3 | QC | 105-010220-A0 | 105-010220-00 | rT3 Control (L) | 3×1.0 mL/vial | rT3 | Class B | 2°C to 8°C
B21 | Thyroid | rT3 | QC | 105-010240-A0 | 105-010240-00 | rT3 Control (L) | 6×1.0 mL/vial | rT3 | Class B | 2°C to 8°C
B21 | Thyroid | rT3 | QC | 105-010230-A0 | 105-010230-00 | rT3 Control (H) | 3×1.0 mL/vial | rT3 | Class B | 2°C to 8°C
B21 | Thyroid | rT3 | QC | 105-010250-A0 | 105-010250-00 | rT3 Control (H) | 6×1.0 mL/vial | rT3 | Class B | 2°C to 8°C
B22 | Thyroid | TRAb | Reagent | 105-010975-A0 | 105-010975-00 | Anti-Thyrotropin Receptor Antibody (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
B22 | Thyroid | TRAb | Reagent | 105-010976-A0 | 105-010976-00 | Anti-Thyrotropin Receptor Antibody (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
B23 | Thyroid | TRAb | CAL | 105-020852-A0 | 105-020852-00 | Anti-Thyrotropin Receptor Antibody Calibrators | C0:4×0.45 mL/vial C1:4×0.40 mL/vial C2:4×0.40 mL/vial |  | Class B | 2°C to 8°C
B24 | Thyroid | TRAb | QC | 105-010221-A0 | 105-010221-00 | Anti-thyroid Antibodies Control (L) | 3×2.0 mL/vial | Anti-Tg, Anti-TPO, TRAb | Class B | 2°C to 8°C
B24 | Thyroid | TRAb | QC | 105-010231-A0 | 105-010231-00 | Anti-thyroid Antibodies Control (H) | 3×2.0 mL/vial | Anti-Tg, Anti-TPO, TRAb | Class B | 2°C to 8°C
C01 | Fertility | HCG II | Reagent | 105-017089-A0 | 105-017089-00 | Total β Human Chorionic Gonadotropin (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C01 | Fertility | HCG II | Reagent | 105-017090-A0 | 105-017090-00 | Total β Human Chorionic Gonadotropin (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C02 | Fertility | HCG | CAL | 105-004290-A0 | 105-004290-00 | Total β HCG Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C03 | Fertility | FSH | Reagent | 105-004222-A0 | 105-004222-00 | Follicle Stimulating Hormone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C03 | Fertility | FSH | Reagent | 105-004249-A0 | 105-004249-00 | Follicle Stimulating Hormone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C04 | Fertility | FSH | CAL | 105-004291-A0 | 105-004291-00 | FSH Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C05 | Fertility | LH | Reagent | 105-004223-A0 | 105-004223-00 | Luteinizing Hormone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C05 | Fertility | LH | Reagent | 105-004250-A0 | 105-004250-00 | Luteinizing Hormone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C06 | Fertility | LH | CAL | 105-004292-A0 | 105-004292-00 | LH Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C07 | Fertility | PRL | Reagent | 105-004224-A0 | 105-004224-00 | Prolactin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
C07 | Fertility | PRL | Reagent | 105-004251-A0 | 105-004251-00 | Prolactin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
C08 | Fertility | PRL | CAL | 105-004293-A0 | 105-004293-00 | Prolactin Calibrators-EN | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
C09 | Fertility | E2 | Reagent | 105-004225-A0 | 105-004225-00 | Estradiol (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C09 | Fertility | E2 | Reagent | 105-004252-A0 | 105-004252-00 | Estradiol (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C10 | Fertility | E2 | CAL | 105-004296-A0 | 105-004296-00 | Estradiol Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C11 | Fertility | E3 | Reagent | 105-004226-A0 | 105-004226-00 | Estriol (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C11 | Fertility | E3 | Reagent | 105-004253-A0 | 105-004253-00 | Estriol (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C12 | Fertility | E3 | CAL | 105-004297-A0 | 105-004297-00 | Estriol Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C13 | Fertility | TESTO | Reagent | 105-004227-00 | TESTO111 | Testosterone (CLIA) | 2×50 tests | Being Discontinued | IVDD | 2°C to 8°C
C13 | Fertility | TESTO | Reagent | 105-004254-00 | TESTO112 | Testosterone (CLIA) | 2×100 tests | Being Discontinued | IVDD | 2°C to 8°C
C13 | Fertility | TESTO II | Reagent | 105-037229-A0 | 105-037229-00 | Testosterone (CLIA) | 2×50 tests | Replace 105-004227-00 | Class B | 2°C to 8°C
C13 | Fertility | TESTO II | Reagent | 105-037228-A0 | 105-037228-00 | Testosterone (CLIA) | 2×100 tests | Replace 105-004254-00 | Class B | 2°C to 8°C
C14 | Fertility | TESTO | CAL | 105-004294-A0 | 105-004294-00 | Testosterone Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C15 | Fertility | PROG | Reagent | 105-004228-00 | PROG111 | Progesterone (CLIA) | 2×50 tests | Being Discontinued | IVDD | 2°C to 8°C
C15 | Fertility | PROG | Reagent | 105-004255-00 | PROG112 | Progesterone (CLIA) | 2×100 tests | Being Discontinued | IVDD | 2°C to 8°C
C15 | Fertility | PROG II | Reagent | 105-032072-A0 | 105-032072-00 | Progesterone (CLIA) | 2×50 tests | Replace 105-004228-00 | Class B | 2°C to 8°C
C15 | Fertility | PROG II | Reagent | 105-032073-A0 | 105-032073-00 | Progesterone (CLIA) | 2×100 tests | Replace 105-004255-00 | Class B | 2°C to 8°C
C16 | Fertility | PROG | CAL | 105-004295-A0 | 105-004295-00 | Progesterone Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C17 | Fertility | Reproductive Multi Control | QC | 105-008890-A0 | 105-008890-00 | Reproductive Multi Control (L) | 3×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG | Class C | 2°C to 8°C
C17 | Fertility | Reproductive Multi Control | QC | 105-004266-A0 | 105-004266-00 | Reproductive Multi Control (L) | 6×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG | Class C | 2°C to 8°C
C17 | Fertility | Reproductive Multi Control | QC | 105-008891-A0 | 105-008891-00 | Reproductive Multi Control (H) | 3×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG | Class C | 2°C to 8°C
C17 | Fertility | Reproductive Multi Control | QC | 105-004267-A0 | 105-004267-00 | Reproductive Multi Control (H) | 6×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG | Class C | 2°C to 8°C
C18 | Fertility | AMH | Reagent | 105-010711-A0 | 105-010711-00 | Anti-Mullerian Hormone (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
C18 | Fertility | AMH | Reagent | 105-010738-A0 | 105-010738-00 | Anti-Mullerian Hormone (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
C19 | Fertility | AMH | QC | 105-018808-A0 | 105-018808-00 | AMH Control (L) | 3×2.0 mL/vial | AMH | Class B | 2°C to 8°C
C19 | Fertility | AMH | QC | 105-018809-A0 | 105-018809-00 | AMH Control (L) | 6×2.0 mL/vial | AMH | Class B | 2°C to 8°C
C19 | Fertility | AMH | QC | 105-018810-A0 | 105-018810-00 | AMH Control (H) | 3×2.0 mL/vial | AMH | Class B | 2°C to 8°C
C19 | Fertility | AMH | QC | 105-018811-A0 | 105-018811-00 | AMH Control (H) | 6×2.0 mL/vial | AMH | Class B | 2°C to 8°C
C20 | Fertility | SHBG | Reagent | 105-041714-A0 | 105-041714-00 | Sex Hormone Binding Globulin (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
C20 | Fertility | SHBG | Reagent | 105-041715-A0 | 105-041715-00 | Sex Hormone Binding Globulin (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
C21 | Fertility | SHBG | QC | 105-031881-A0 | 105-031881-00 | Reproductive Multi Control II (L) | 3×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG, SHBG | Class B | 2°C to 8°C
C21 | Fertility | SHBG | QC | 105-031882-A0 | 105-031882-00 | Reproductive Multi Control II (L) | 6×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG, SHBG | Class B | 2°C to 8°C
C21 | Fertility | SHBG | QC | 105-031884-A0 | 105-031884-00 | Reproductive Multi Control II (H) | 3×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG, SHBG | Class B | 2°C to 8°C
C21 | Fertility | SHBG | QC | 105-031885-A0 | 105-031885-00 | Reproductive Multi Control II (H) | 6×5.0 mL/vial | HCG, FSH, LH, PRL, E2, E3, TESTO, PROG, SHBG | Class B | 2°C to 8°C
C20 | Immunoassay | Insulin | Reagent | 105-005666-A0 | 105-005666-00 | Insulin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
C20 | Immunoassay | Insulin | Reagent | 105-005683-A0 | 105-005683-00 | Insulin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
C21 | Immunoassay | Insulin | CAL | 105-005917-A0 | 105-005917-00 | Insulin Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
C22 | Immunoassay | C-Peptide | Reagent | 105-005667-A0 | 105-005667-00 | C-Peptide (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
C22 | Immunoassay | C-Peptide | Reagent | 105-005684-A0 | 105-005684-00 | C-Peptide (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
C23 | Immunoassay | C-Peptide | CAL | 105-005918-A0 | 105-005918-00 | C-Peptide Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
C24 | Immunoassay | DHEA-S | Reagent | 105-005674-A0 | 105-005674-00 | Dehydroepiandrosterone sulfate (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C24 | Immunoassay | DHEA-S | Reagent | 105-005691-A0 | 105-005691-00 | Dehydroepiandrosterone sulfate (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C25 | Immunoassay | DHEA-S | CAL | 105-005925-A0 | 105-005925-00 | DHEA-S Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C26 | Immunoassay | Cortisol | Reagent | 105-005673-A0 | 105-005673-00 | Cortisol (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
C26 | Immunoassay | Cortisol | Reagent | 105-005690-A0 | 105-005690-00 | Cortisol (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
C27 | Immunoassay | Cortisol | CAL | 105-005924-A0 | 105-005924-00 | Cortisol Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
C28 | Immunoassay | Immunoassay Multi Control | QC | 105-005943-A0 | 105-005943-00 | Immunoassay Multi Control (L) | 3×2.0 mL/vial | Insulin, C-Peptide, DHEA-S, Cortisol | Class C | 2°C to 8°C
C28 | Immunoassay | Immunoassay Multi Control | QC | 105-005929-A0 | 105-005929-00 | Immunoassay Multi Control (L) | 6×2.0 mL/vial | Insulin, C-Peptide, DHEA-S, Cortisol | Class C | 2°C to 8°C
C28 | Immunoassay | Immunoassay Multi Control | QC | 105-005944-A0 | 105-005944-00 | Immunoassay Multi Control (H) | 3×2.0 mL/vial | Insulin, C-Peptide, DHEA-S, Cortisol | Class C | 2°C to 8°C
C28 | Immunoassay | Immunoassay Multi Control | QC | 105-005930-A0 | 105-005930-00 | Immunoassay Multi Control (H) | 6×2.0 mL/vial | Insulin, C-Peptide, DHEA-S, Cortisol | Class C | 2°C to 8°C
C29 | ACTH | ACTH | Reagent | 105-005675-A0 | 105-005675-00 | Adrenocorticotropic hormone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
C29 | ACTH | ACTH | Reagent | 105-005692-A0 | 105-005692-00 | Adrenocorticotropic hormone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
C30 | ACTH | ACTH | CAL | 105-005926-A0 | 105-005926-00 | ACTH Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
C31 | ACTH | ACTH | QC | 105-005939-A0 | 105-005939-00 | ACTH Control (L) | 3×2.0 mL/vial | ACTH | Class B | 2°C to 8°C
C31 | ACTH | ACTH | QC | 105-005953-A0 | 105-005953-00 | ACTH Control (L) | 6×2.0 mL/vial | ACTH | Class B | 2°C to 8°C
C31 | ACTH | ACTH | QC | 105-005940-A0 | 105-005940-00 | ACTH Control (H) | 3×2.0 mL/vial | ACTH | Class B | 2°C to 8°C
C31 | ACTH | ACTH | QC | 105-005954-A0 | 105-005954-00 | ACTH Control (H) | 6×2.0 mL/vial | ACTH | Class B | 2°C to 8°C
D01 | Tumor Markers | CEA | Reagent | 105-004213-A0 | 105-004213-00 | Carcinoembryonic Antigen (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D01 | Tumor Markers | CEA | Reagent | 105-004240-A0 | 105-004240-00 | Carcinoembryonic Antigen (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D02 | Tumor Markers | CEA | CAL | 105-004282-A0 | 105-004282-00 | CEA Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D03 | Tumor Markers | AFP | Reagent | 105-004214-A0 | 105-004214-00 | Alpha fetoprotein (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D03 | Tumor Markers | AFP | Reagent | 105-004241-A0 | 105-004241-00 | Alpha fetoprotein (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D04 | Tumor Markers | AFP | CAL | 105-004283-A0 | 105-004283-00 | AFP Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D05 | Tumor Markers | CA125 | Reagent | 105-004215-A0 | 105-004215-00 | Cancer Antigen 125 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D05 | Tumor Markers | CA125 | Reagent | 105-004242-A0 | 105-004242-00 | Cancer Antigen 125 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D06 | Tumor Markers | CA125 | CAL | 105-004284-A0 | 105-004284-00 | CA125 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D07 | Tumor Markers | CA15-3 | Reagent | 105-004216-A0 | 105-004216-00 | Cancer Antigen 15-3 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D07 | Tumor Markers | CA15-3 | Reagent | 105-004243-A0 | 105-004243-00 | Cancer Antigen 15-3 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D08 | Tumor Markers | CA15-3 | CAL | 105-004285-A0 | 105-004285-00 | CA15-3 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D09 | Tumor Markers | CA19-9 | Reagent | 105-004217-A0 | 105-004217-00 | Carbohydrate Antigen 19-9 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D09 | Tumor Markers | CA19-9 | Reagent | 105-004244-A0 | 105-004244-00 | Carbohydrate Antigen 19-9 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D10 | Tumor Markers | CA19-9 | CAL | 105-004286-A0 | 105-004286-00 | CA19-9 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D11 | Tumor Markers | FPSA | Reagent | 105-004218-A0 | 105-004218-00 | Free Prostate Specific Antigen (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D11 | Tumor Markers | FPSA | Reagent | 105-004245-A0 | 105-004245-00 | Free Prostate Specific Antigen (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D12 | Tumor Markers | FPSA | CAL | 105-004287-A0 | 105-004287-00 | Free PSA Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D13 | Tumor Markers | TPSA | Reagent | 105-004219-A0 | 105-004219-00 | Total Prostate Specific Antigen (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D13 | Tumor Markers | TPSA | Reagent | 105-004246-A0 | 105-004246-00 | Total Prostate Specific Antigen (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D14 | Tumor Markers | TPSA | CAL | 105-004288-A0 | 105-004288-00 | Total PSA Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D15 | Tumor Markers | FERR | Reagent | 105-004220-A0 | 105-004220-00 | Ferritin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D15 | Tumor Markers | FERR | Reagent | 105-004247-A0 | 105-004247-00 | Ferritin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D16 | Tumor Markers | FERR | CAL | 105-004289-A0 | 105-004289-00 | Ferritin Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D17 | Tumor Markers | CA72-4 | Reagent | 105-005668-A0 | 105-005668-00 | Cancer Antigen 72-4 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D17 | Tumor Markers | CA72-4 | Reagent | 105-005685-A0 | 105-005685-00 | Cancer Antigen 72-4 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D18 | Tumor Markers | CA72-4 | CAL | 105-005919-A0 | 105-005919-00 | CA72-4 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D19 | Tumor Markers | CYFRA 21-1 | Reagent | 105-005670-A0 | 105-005670-00 | CYFRA 21-1 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D19 | Tumor Markers | CYFRA 21-1 | Reagent | 105-005687-A0 | 105-005687-00 | CYFRA 21-1 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D20 | Tumor Markers | CYFRA 21-1 | CAL | 105-005921-A0 | 105-005921-00 | CYFRA 21-1 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D21 | Tumor Markers | Tumor Marker Multi Control | QC | 105-007381-A0 | 105-007381-00 | Tumor Marker Multi Control (L) | 3×5.0 mL/vial | CEA, AFP, CA125, CA15-3, CA19-9, t-PSA, FPSA, FERR, CA72-4, Cyfra 21-1 | Class C | 2°C to 8°C
D21 | Tumor Markers | Tumor Marker Multi Control | QC | 105-007373-A0 | 105-007373-00 | Tumor Marker Multi Control (L) | 6×5.0 mL/vial | CEA, AFP, CA125, CA15-3, CA19-9, t-PSA, FPSA, FERR, CA72-4, Cyfra 21-1 | Class C | 2°C to 8°C
D21 | Tumor Markers | Tumor Marker Multi Control | QC | 105-007382-A0 | 105-007382-00 | Tumor Marker Multi Control (H) | 3×5.0 mL/vial | CEA, AFP, CA125, CA15-3, CA19-9, t-PSA, FPSA, FERR, CA72-4, Cyfra 21-1 | Class C | 2°C to 8°C
D21 | Tumor Markers | Tumor Marker Multi Control | QC | 105-007374-A0 | 105-007374-00 | Tumor Marker Multi Control (H) | 6×5.0 mL/vial | CEA, AFP, CA125, CA15-3, CA19-9, t-PSA, FPSA, FERR, CA72-4, Cyfra 21-1 | Class C | 2°C to 8°C
D22 | Tumor Markers | NSE | Reagent | 105-005669-A0 | 105-005669-00 | Neuron-specific enolase (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D22 | Tumor Markers | NSE | Reagent | 105-005686-A0 | 105-005686-00 | Neuron-specific enolase (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D23 | Tumor Markers | NSE | CAL | 105-005920-A0 | 105-005920-00 | NSE Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
D24 | Tumor Markers | NSE | QC | 105-005937-A0 | 105-005937-00 | NSE Control (L) | 3×2.0 mL/vial | NSE | Class C | 2°C to 8°C
D24 | Tumor Markers | NSE | QC | 105-005951-A0 | 105-005951-00 | NSE Control (L) | 6×2.0 mL/vial | NSE | Class C | 2°C to 8°C
D24 | Tumor Markers | NSE | QC | 105-005938-A0 | 105-005938-00 | NSE Control (H) | 3×2.0 mL/vial | NSE | Class C | 2°C to 8°C
D24 | Tumor Markers | NSE | QC | 105-005952-A0 | 105-005952-00 | NSE Control (H) | 6×2.0 mL/vial | NSE | Class C | 2°C to 8°C
D25 | Tumor Markers | ProGRP | Reagent | 105-010084-A0 | 105-010084-00 | ProGRP (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D25 | Tumor Markers | ProGRP | Reagent | 105-010094-A0 | 105-010094-00 | ProGRP (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D26 | Tumor Markers | ProGRP | CAL | 105-010134-A0 | 105-010134-00 | ProGRP Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D27 | Tumor Markers | ProGRP | QC | 105-010145-A0 | 105-010145-00 | ProGRP Control (L) | 3×1.0 mL/vial | ProGRP | Class C | 2°C to 8°C
D27 | Tumor Markers | ProGRP | QC | 105-010155-A0 | 105-010155-00 | ProGRP Control (L) | 6×1.0 mL/vial | ProGRP | Class C | 2°C to 8°C
D27 | Tumor Markers | ProGRP | QC | 105-010150-A0 | 105-010150-00 | ProGRP Control (H) | 3×1.0 mL/vial | ProGRP | Class C | 2°C to 8°C
D27 | Tumor Markers | ProGRP | QC | 105-010160-A0 | 105-010160-00 | ProGRP Control (H) | 6×1.0 mL/vial | ProGRP | Class C | 2°C to 8°C
D28 | Tumor Markers | HE4 | Reagent | 105-010088-A0 | 105-010088-00 | Human Epididymal Protein 4 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D28 | Tumor Markers | HE4 | Reagent | 105-010098-A0 | 105-010098-00 | Human Epididymal Protein 4 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D29 | Tumor Markers | HE4 | CAL | 105-010138-A0 | 105-010138-00 | HE4 Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D30 | Tumor Markers | CA50 | Reagent | 105-010090-A0 | 105-010090-00 | Carbohydrate Antigen 50 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D30 | Tumor Markers | CA50 | Reagent | 105-010100-A0 | 105-010100-00 | Carbohydrate Antigen 50 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D31 | Tumor Markers | CA50 | CAL | 105-010140-A0 | 105-010140-00 | CA 50 Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D32 | Tumor Markers | CA242 | Reagent | 105-010089-A0 | 105-010089-00 | Carbohydrate Antigen 242 (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D32 | Tumor Markers | CA242 | Reagent | 105-010099-A0 | 105-010099-00 | Carbohydrate Antigen 242 (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D33 | Tumor Markers | CA242 | CAL | 105-010139-A0 | 105-010139-00 | CA 242 Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D34 | Tumor Markers | SCCA | Reagent | 105-010085-A0 | 105-010085-00 | Squamous Cell Carcinoma Antigen (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D34 | Tumor Markers | SCCA | Reagent | 105-010095-A0 | 105-010095-00 | Squamous Cell Carcinoma Antigen (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D35 | Tumor Markers | SCCA | CAL | 105-010135-A0 | 105-010135-00 | SCCA Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D36 | Tumor Markers | Tumor Marker Multi Control II | QC | 105-010146-A0 | 105-010146-00 | Tumor Marker Multi Control II (L) | 3×2.0 mL/vial | HE4, CA50, CA242, SCCA | Class C | 2°C to 8°C
D36 | Tumor Markers | Tumor Marker Multi Control II | QC | 105-010156-A0 | 105-010156-00 | Tumor Marker Multi Control II (L) | 6×2.0 mL/vial | HE4, CA50, CA242, SCCA | Class C | 2°C to 8°C
D36 | Tumor Markers | Tumor Marker Multi Control II | QC | 105-010151-A0 | 105-010151-00 | Tumor Marker Multi Control II (H) | 3×2.0 mL/vial | HE4, CA50, CA242, SCCA | Class C | 2°C to 8°C
D36 | Tumor Markers | Tumor Marker Multi Control II | QC | 105-010161-A0 | 105-010161-00 | Tumor Marker Multi Control II (H) | 6×2.0 mL/vial | HE4, CA50, CA242, SCCA | Class C | 2°C to 8°C
D37 | Tumor Markers | PGI | Reagent | 105-010086-A0 | 105-010086-00 | Pepsinogen I (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D37 | Tumor Markers | PGI | Reagent | 105-010096-A0 | 105-010096-00 | Pepsinogen I (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D38 | Tumor Markers | PGI | CAL | 105-010136-A0 | 105-010136-00 | PGⅠ Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D39 | Tumor Markers | PGII | Reagent | 105-010087-A0 | 105-010087-00 | Pepsinogen Ⅱ(CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D39 | Tumor Markers | PGII | Reagent | 105-010097-A0 | 105-010097-00 | Pepsinogen Ⅱ(CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
D40 | Tumor Markers | PGII | CAL | 105-010137-A0 | 105-010137-00 | PGⅡ Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
D41 | Tumor Markers | Gastritis Multi Control | QC | 105-010144-A0 | 105-010144-00 | Gastritis Multi Control (L) | 3×2.0 mL/vial | PGI, PGII | Class C | 2°C to 8°C
D41 | Tumor Markers | Gastritis Multi Control | QC | 105-010154-A0 | 105-010154-00 | Gastritis Multi Control (L) | 6×2.0 mL/vial | PGI, PGII | Class C | 2°C to 8°C
D41 | Tumor Markers | Gastritis Multi Control | QC | 105-010149-A0 | 105-010149-00 | Gastritis Multi Control (H) | 3×2.0 mL/vial | PGI, PGII | Class C | 2°C to 8°C
D41 | Tumor Markers | Gastritis Multi Control | QC | 105-010159-A0 | 105-010159-00 | Gastritis Multi Control (H) | 6×2.0 mL/vial | PGI, PGII | Class C | 2°C to 8°C
D42 | Tumor Markers | PIVKA-II | Reagent | 105-029895-A0 | 105-029895-00 | PIVKA-II (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
D43 | Tumor Markers | PIVKA-II | CAL | 105-029896-A0 | 105-029896-00 | PIVKA-II Calibrators | C0:4×0.3 mL/vial C1:4×0.3 mL/vial C2:4×0.3 mL/vial |  | Class C | 2°C to 8°C
D44 | Tumor Markers | PIVKA-II | QC | 105-031983-A0 | 105-031983-00 | PIVKA-II Control (L) | 3×0.80 mL/vial | PIVKA-II | Class C | 2°C to 8°C
D44 | Tumor Markers | PIVKA-II | QC | 105-031987-A0 | 105-031987-00 | PIVKA-II Control (H) | 3×0.80 mL/vial | PIVKA-II | Class C | 2°C to 8°C
D45 | Tumor Markers | Gastrin-17 | Reagent | 105-029892-A0 | 105-029892-00 | Gastrin-17 (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
D46 | Tumor Markers | Gastrin-17 | CAL | 105-029893-A0 | 105-029893-00 | Gastrin-17 Calibrators | C0:4×0.3 mL/vial C1:4×0.3 mL/vial C2:4×0.3 mL/vial |  | Class B | 2°C to 8°C
D47 | Tumor Markers | Gastrin-17 | QC | 105-031967-A0 | 105-031967-00 | PG I/PG II/G-17 Multi Control (L) | 3×0.80 mL/vial | PG I, PG II, G-17 | Class C | 2°C to 8°C
D47 | Tumor Markers | Gastrin-17 | QC | 105-031971-A0 | 105-031971-00 | PG I/PG II/G-17 Multi Control (H) | 3×0.80 mL/vial | PG I, PG II, G-17 | Class C | 2°C to 8°C
E01 | Cardiac | TnI | Reagent | 105-005659-A0 | 105-005659-00 | Troponin I (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E01 | Cardiac | TnI | Reagent | 105-005676-A0 | 105-005676-00 | Troponin I (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E02 | Cardiac | TnI | CAL | 105-005910-A0 | 105-005910-00 | Troponin I Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
E03 | Cardiac | BNP | Reagent | 105-005660-A0 | 105-005660-00 | B-type natriuretic peptide (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E03 | Cardiac | BNP | Reagent | 105-005677-A0 | 105-005677-00 | B-type natriuretic peptide (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E04 | Cardiac | BNP | CAL | 105-005911-A0 | 105-005911-00 | BNP Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
E05 | Cardiac | MYO | Reagent | 105-005661-A0 | 105-005661-00 | Myoglobin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E05 | Cardiac | MYO | Reagent | 105-005678-A0 | 105-005678-00 | Myoglobin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E06 | Cardiac | MYO | CAL | 105-005912-A0 | 105-005912-00 | MYO Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
E07 | Cardiac | CK-MB | Reagent | 105-005662-A0 | 105-005662-00 | Creatine kinase MB (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E07 | Cardiac | CK-MB | Reagent | 105-005679-A0 | 105-005679-00 | Creatine kinase MB (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E08 | Cardiac | CK-MB | CAL | 105-005913-A0 | 105-005913-00 | CK-MB Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
E09 | Cardiac | CMMC | QC | 105-005941-A0 | 105-005941-00 | Cardiac Marker Multi Control (L) | 3×2.0 mL/vial | Troponin I, BNP, MYO, CK-MB | Class C | 2°C to 8°C
E09 | Cardiac | CMMC | QC | 105-005927-A0 | 105-005927-00 | Cardiac Marker Multi Control (L) | 6×2.0 mL/vial | Troponin I, BNP, MYO, CK-MB | Class C | 2°C to 8°C
E09 | Cardiac | CMMC | QC | 105-005942-A0 | 105-005942-00 | Cardiac Marker Multi Control (H) | 3×2.0 mL/vial | Troponin I, BNP, MYO, CK-MB | Class C | 2°C to 8°C
E09 | Cardiac | CMMC | QC | 105-005928-A0 | 105-005928-00 | Cardiac Marker Multi Control (H) | 6×2.0 mL/vial | Troponin I, BNP, MYO, CK-MB | Class C | 2°C to 8°C
E10 | Cardiac | NT-proBNP | Reagent | 105-027044-A0 | 105-027044-00 | N-terminal pro B-type natriuretic peptide (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E10 | Cardiac | NT-proBNP | Reagent | 105-027045-A0 | 105-027045-00 | N-terminal pro B-type natriuretic peptide (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E11 | Cardiac | NT-proBNP | CAL | 105-027049-A0 | 105-027049-00 | NT-proBNP Calibrators | C0:4×0.35 mL/vial C1:4×0.30 mL/vial C2:4×0.30 mL/vial |  | Class C | 2°C to 8°C
E12 | Cardiac | NT-proBNP | QC | 105-035649-A0 | 105-035649-00 | NT-proBNP Control (L) | 3×0.50 mL/vial | NT-proBNP | Class C | 2°C to 8°C
E12 | Cardiac | NT-proBNP | QC | 105-035738-A0 | 105-035738-00 | NT-proBNP Control (H) | 3×0.50 mL/vial | NT-proBNP | Class C | 2°C to 8°C
E13 | Cardiac | hs-cTnI | Reagent | 105-028988-A0 | 105-028988-00 | High Sensitivity Cardiac Troponin I (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
E13 | Cardiac | hs-cTnI | Reagent | 105-028989-A0 | 105-028989-00 | High Sensitivity Cardiac Troponin I (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
E14 | Cardiac | hs-cTnI | CAL | 105-031858-A0 | 105-031858-00 | hs-cTnI Calibrators | C0:4×0.50 mL/vial C1:4×0.40 mL/vial C2:4×0.40 mL/vial |  | Class C | 2°C to 8°C
E15 | Cardiac | hs-cTnI | QC | 105-031870-A0 | 105-031870-00 | hs-cTnI Control (L1) | 3×1.00 mL/vial | hs-cTnI | Class C | 2°C to 8°C
E15 | Cardiac | hs-cTnI | QC | 105-031869-A0 | 105-031869-00 | hs-cTnI Control (L2) | 3×1.00 mL/vial | hs-cTnI | Class C | 2°C to 8°C
E15 | Cardiac | hs-cTnI | QC | 105-031868-A0 | 105-031868-00 | hs-cTnI Control (L3) | 3×1.00 mL/vial | hs-cTnI | Class C | 2°C to 8°C
F01 | Hypertension | Renin II | Reagent | 105-031482-A0 | 105-031482-00 | Renin (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
F01 | Hypertension | Renin II | Reagent | 105-031483-A0 | 105-031483-00 | Renin (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
F02 | Hypertension | Renin | CAL | 105-012129-A0 | 105-012129-00 | Renin Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class B | 2°C to 8°C
F03 | Hypertension | ALD II | Reagent | 105-031481-A0 | 105-031481-00 | Aldosterone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
F03 | Hypertension | ALD II | Reagent | 105-029848-A0 | 105-029848-00 | Aldosterone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
F04 | Hypertension | ALD | CAL | 105-011969-A0 | 105-011969-00 | ALD Calibrators | C0:1×1.0 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class B | 2°C to 8°C
F05 | Hypertension | Hypertension Multi Control | QC | 105-012437-A0 | 105-012437-00 | Hypertension Multi Control (L) | 3×2.0 mL/vial | Renin, ALD | Class B | 2°C to 8°C
F05 | Hypertension | Hypertension Multi Control | QC | 105-012438-A0 | 105-012438-00 | Hypertension Multi Control (L) | 6×2.0 mL/vial | Renin, ALD | Class B | 2°C to 8°C
F05 | Hypertension | Hypertension Multi Control | QC | 105-012439-A0 | 105-012439-00 | Hypertension Multi Control (H) | 3×2.0 mL/vial | Renin, ALD | Class B | 2°C to 8°C
F05 | Hypertension | Hypertension Multi Control | QC | 105-012440-A0 | 105-012440-00 | Hypertension Multi Control (H) | 6×2.0 mL/vial | Renin, ALD | Class B | 2°C to 8°C
G01 | Liver Fibrosis | LN | Reagent | 105-010715-A0 | 105-010715-00 | Laminin (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
G01 | Liver Fibrosis | LN | Reagent | 105-010742-A0 | 105-010742-00 | Laminin (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
G02 | Liver Fibrosis | HA | Reagent | 105-010716-A0 | 105-010716-00 | Hyaluronic Acid (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
G02 | Liver Fibrosis | HA | Reagent | 105-010743-A0 | 105-010743-00 | Hyaluronic Acid (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
G03 | Liver Fibrosis | PIIINP | Reagent | 105-010717-A0 | 105-010717-00 | N-terminal Peptide of Procollagen Type III (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
G03 | Liver Fibrosis | PIIINP | Reagent | 105-010744-A0 | 105-010744-00 | N-terminal Peptide of Procollagen Type III (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
G04 | Liver Fibrosis | CIV | Reagent | 105-010718-A0 | 105-010718-00 | Collagen Type IV (CLIA) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
G04 | Liver Fibrosis | CIV | Reagent | 105-010745-A0 | 105-010745-00 | Collagen Type IV (CLIA) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
G05 | Liver Fibrosis | Liver Fibrosis Multi Control | QC | 105-010229-A0 | 105-010229-00 | Liver Fibrosis Multi Control (L) | 3×2.0 mL/vial | LN, HA, PIIINP, C IV | Class B | 2°C to 8°C
G05 | Liver Fibrosis | Liver Fibrosis Multi Control | QC | 105-010249-A0 | 105-010249-00 | Liver Fibrosis Multi Control (L) | 6×2.0 mL/vial | LN, HA, PIIINP, C IV | Class B | 2°C to 8°C
G05 | Liver Fibrosis | Liver Fibrosis Multi Control | QC | 105-010239-A0 | 105-010239-00 | Liver Fibrosis Multi Control (H) | 3×2.0 mL/vial | LN, HA, PIIINP, C IV | Class B | 2°C to 8°C
G05 | Liver Fibrosis | Liver Fibrosis Multi Control | QC | 105-010259-A0 | 105-010259-00 | Liver Fibrosis Multi Control (H) | 6×2.0 mL/vial | LN, HA, PIIINP, C IV | Class B | 2°C to 8°C
H01 | Metabolic | PTH | Reagent | 105-008684-A0 | 105-008684-00 | Parathyroid hormone (CLIA) | 2×50 tests |  | Class B | 2°C to 8°C
H01 | Metabolic | PTH | Reagent | 105-008689-A0 | 105-008689-00 | Parathyroid hormone (CLIA) | 2×100 tests |  | Class B | 2°C to 8°C
H02 | Metabolic | PTH | CAL | 105-008553-A0 | 105-008553-00 | PTH Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
H03 | Metabolic | CT | Reagent | 105-008685-A0 | 105-008685-00 | Calcitonin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
H03 | Metabolic | CT | Reagent | 105-008690-A0 | 105-008690-00 | Calcitonin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
H04 | Metabolic | CT | CAL | 105-008550-A0 | 105-008550-00 | Calcitonin Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class C | 2°C to 8°C
H05 | Metabolic | VD-T | Reagent | 105-008681-00 | VD-T111 | 25-OH-Vitamin D Total (CLIA) | 50 tests |  | IVDD | 2°C to 8°C
H05 | Metabolic | VD-T | Reagent | 105-008686-00 | VD-T112 | 25-OH-Vitamin D Total (CLIA) | 100 tests |  | IVDD | 2°C to 8°C
H06 | Metabolic | VD-T | CAL | 105-008549-A0 | 105-008549-00 | 25-OH-Vitamin D Total Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
H07 | Metabolic | VB12 | Reagent | 105-008682-00 | VB12111 | Vitamin B12 (CLIA) | 2×50 tests |  | IVDD | 2°C to 8°C
H07 | Metabolic | VB12 | Reagent | 105-008687-00 | VB12112 | Vitamin B12 (CLIA) | 2×100 tests |  | IVDD | 2°C to 8°C
H08 | Metabolic | VB12 | CAL | 105-008552-A0 | 105-008552-00 | Vitamin B12 Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
H09 | Metabolic | Folate | Reagent | 105-008683-00 | Folate111 | Folate (CLIA) | 50 tests |  | IVDD | 2°C to 8°C
H09 | Metabolic | Folate | Reagent | 105-008688-00 | Folate112 | Folate (CLIA) | 100 tests |  | IVDD | 2°C to 8°C
H10 | Metabolic | Folate | CAL | 105-008551-A0 | 105-008551-00 | Folate Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial |  | Class B | 2°C to 8°C
H11 | Metabolic | Metabolic Multi Control | QC | 105-008554-A0 | 105-008554-00 | Metabolic Multi Control (L) | 3×2.0 mL/vial | PTH, CT, VD, VB12, Folate, Ferritin | Class C | 2°C to 8°C
H11 | Metabolic | Metabolic Multi Control | QC | 105-008556-A0 | 105-008556-00 | Metabolic Multi Control (L) | 6×2.0 mL/vial | PTH, CT, VD, VB12, Folate, Ferritin | Class C | 2°C to 8°C
H11 | Metabolic | Metabolic Multi Control | QC | 105-008555-A0 | 105-008555-00 | Metabolic Multi Control (H) | 3×2.0 mL/vial | PTH, CT, VD, VB12, Folate, Ferritin | Class C | 2°C to 8°C
H11 | Metabolic | Metabolic Multi Control | QC | 105-008557-A0 | 105-008557-00 | Metabolic Multi Control (H) | 6×2.0 mL/vial | PTH, CT, VD, VB12, Folate, Ferritin | Class C | 2°C to 8°C
I01 | Sepsis | PCT | Reagent | 105-010703-A0 | 105-010703-00 | Procalcitonin (CLIA) | 2×50 tests |  | Class C | 2°C to 8°C
I01 | Sepsis | PCT | Reagent | 105-010730-A0 | 105-010730-00 | Procalcitonin (CLIA) | 2×100 tests |  | Class C | 2°C to 8°C
I02 | Sepsis | PCT | CAL | 105-010219-A0 | 105-010219-00 | PCT Calibrators | C0:1×1.2 mL/vial C1:1×1.0 mL/vial C2:1×1.0 mL/vial |  | Class C | 2°C to 8°C
I03 | Sepsis | PCT | QC | 105-010228-A0 | 105-010228-00 | PCT Control (L) | 3×2.0 mL/vial | PCT | Class C | 2°C to 8°C
I03 | Sepsis | PCT | QC | 105-010248-A0 | 105-010248-00 | PCT Control (L) | 6×2.0 mL/vial | PCT | Class C | 2°C to 8°C
I03 | Sepsis | PCT | QC | 105-010238-A0 | 105-010238-00 | PCT Control (H) | 3×2.0 mL/vial | PCT | Class C | 2°C to 8°C
I03 | Sepsis | PCT | QC | 105-010258-A0 | 105-010258-00 | PCT Control (H) | 6×2.0 mL/vial | PCT | Class C | 2°C to 8°C
I04 | Sepsis | sCD14-ST | Reagent | 105-023902-A0 | 105-023902-00 | sCD14-ST (CLIA) | 2×50 tests |  | IVDD | 2°C to 8°C
I04 | Sepsis | sCD14-ST | Reagent | 105-023903-A0 | 105-023903-00 | sCD14-ST (CLIA) | 2×100 tests |  | IVDD | 2°C to 8°C
I05 | Sepsis | sCD14-ST | CAL | 105-023905-A0 | 105-023905-00 | sCD14-ST Calibrators | C0:4×0.35 mL/vial C1:4×0.30 mL/vial C2:4×0.30 mL/vial |  | IVDD | 2°C to 8°C
I06 | Sepsis | sCD14-ST | QC | 105-023924-A0 | 105-023924-00 | sCD14-ST Control (L) | 3×0.5 mL/vial | sCD14-ST | IVDD | 2°C to 8°C
I06 | Sepsis | sCD14-ST | QC | 105-023925-A0 | 105-023925-00 | sCD14-ST Control (H) | 3×0.5 mL/vial | sCD14-ST | IVDD | 2°C to 8°C
I07 | Sepsis | IL-6 | Reagent | 105-027046-A0 | 105-027046-00 | Interleukin-6 (CLIA) | 2×50 tests |  | IVDD | 2°C to 8°C
I07 | Sepsis | IL-6 | Reagent | 105-027047-A0 | 105-027047-00 | Interleukin-6 (CLIA) | 2×100 tests |  | IVDD | 2°C to 8°C
I08 | Sepsis | IL-6 | CAL | 105-027173-A0 | 105-027173-00 | IL-6 Calibrators | C0:4×0.35 mL/vial C1:4×0.30 mL/vial C2:4×0.30 mL/vial |  | IVDD | 2°C to 8°C
I09 | Sepsis | IL-6 | QC | 105-027180-A0 | 105-027180-00 | IL-6 Control (L) | 3×0.5 mL/vial | IL-6 | IVDD | 2°C to 8°C
I09 | Sepsis | IL-6 | QC | 105-027181-A0 | 105-027181-00 | IL-6 Control (H) | 3×0.5 mL/vial | IL-6 | IVDD | 2°C to 8°C
J01 | ToRCH | Toxo IgG | Reagent | 105-012527-A0 | 105-012527-00 | Toxoplasma gondii IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J02 | ToRCH | Toxo IgM | Reagent | 105-012533-A0 | 105-012533-00 | Toxoplasma gondii IgM (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J03 | ToRCH | RV IgG | Reagent | 105-012521-A0 | 105-012521-00 | Rubella Virus IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J04 | ToRCH | RV IgM | Reagent | 105-012515-A0 | 105-012515-00 | Rubella Virus IgM (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J05 | ToRCH | CMV IgG | Reagent | 105-012539-A0 | 105-012539-00 | Cytomegalovirus IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J06 | ToRCH | CMV IgM | Reagent | 105-012545-A0 | 105-012545-00 | Cytomegalovirus IgM (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J07 | ToRCH | HSV-1 IgG | Reagent | 105-012503-A0 | 105-012503-00 | Herpes Simplex Virus-1 IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J08 | ToRCH | HSV-2 IgG | Reagent | 105-012509-A0 | 105-012509-00 | Herpes Simplex Virus-2 IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J09 | ToRCH | HSV-1+2 IgG | Reagent | 105-012497-A0 | 105-012497-00 | Herpes Simplex Virus 1+2 IgG (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J09 | ToRCH | HSV-1+2 IgG | Reagent | 105-012498-A0 | 105-012498-00 | Herpes Simplex Virus 1+2 IgG (CLIA) | 2×100 tests (calibrators included) |  | Class C | 2°C to 8°C
J10 | ToRCH | HSV-1+2 IgM | Reagent | 105-012491-A0 | 105-012491-00 | Herpes Simplex Virus 1+2 IgM (CLIA) | 2×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J11 | ToRCH | ToRCH IgG/IgM Negative Control | QC | 105-024826-A0 | 105-024826-00 | ToRCH IgG/IgM Negative Control | 3×1.0 mL/vial | Toxo IgG, RV IgG, CMV IgG, HSV-1 IgG, HISV-2 IgG, HSV-1+2 IgG, Toxo IgM, RV IgM, CMV IgM, HSV-1+2 IgM | Class C | 2°C to 8°C
J12 | ToRCH | ToRCH IgG Positive Control | QC | 105-024834-A0 | 105-024834-00 | ToRCH IgG Positive Control | 3×1.0 mL/vial | Toxo IgG, RV IgG, CMV IgG, HSV-1 IgG, HISV-2 IgG, HSV-1+2 IgG | Class C | 2°C to 8°C
J13 | ToRCH | ToRCH IgM Positive Control | QC | 105-024842-A0 | 105-024842-00 | ToRCH IgM Positive Control | 3×1.0 mL/vial | Toxo IgM, RV IgM, CMV IgM, HSV-1+2 IgM | Class C | 2°C to 8°C
J14 | ToRCH | Toxo IgG Avidity | Reagent | 105-029863-A0 | 105-029863-00 | Toxoplasma gondii IgG Avidity (CLIA) | 1×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J15 | ToRCH | Toxo IgG Avidity Control | QC | 105-029874-A0 | 105-029874-00 | Toxo IgG Avidity Control (L) | 3×1.0 mL/vial | Toxo IgG Avidity | Class C | 2°C to 8°C
J15 | ToRCH | Toxo IgG Avidity Control | QC | 105-029878-A0 | 105-029878-00 | Toxo IgG Avidity Control (H) | 3×1.0 mL/vial | Toxo IgG Avidity | Class C | 2°C to 8°C
J16 | ToRCH | CMV IgG Avidity | Reagent | 105-029870-A0 | 105-029870-00 | Cytomegalovirus IgG Avidity (CLIA) | 1×50 tests (calibrators included) |  | Class C | 2°C to 8°C
J17 | ToRCH | CMV IgG Avidity Control | QC | 105-029882-A0 | 105-029882-00 | CMV IgG Avidity Control (L) | 3×1.0 mL/vial | CMV IgG Avidity | Class C | 2°C to 8°C
J17 | ToRCH | CMV IgG Avidity Control | QC | 105-029886-A0 | 105-029886-00 | CMV IgG Avidity Control (H) | 3×1.0 mL/vial | CMV IgG Avidity | Class C | 2°C to 8°C
K01 | Infectious Diseases | Anti-TP | Reagent | 105-005671-00 | Anti-TP111 | Antibody to Treponema Pallidum (CLIA) | 2×50 tests |  | IVDD | 2°C to 8°C
K01 | Infectious Diseases | Anti-TP | Reagent | 105-005688-00 | Anti-TP112 | Antibody to Treponema Pallidum (CLIA) | 2×100 tests |  | IVDD | 2°C to 8°C
K02 | Infectious Diseases | Anti-TP | CAL | 105-005922-00 | Anti-TP211 | Anti-TP Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial |  | IVDD | 2°C to 8°C
K03 | Infectious Diseases | Anti-TP | QC | 105-005933-00 | Anti-TPN311 | Anti-TP Negative Control | 3×2.0 mL/vial |  | IVDD | 2°C to 8°C
K03 | Infectious Diseases | Anti-TP | QC | 105-005947-00 | Anti-TPN312 | Anti-TP Negative Control | 6×2.0 mL/vial |  | IVDD | 2°C to 8°C
K03 | Infectious Diseases | Anti-TP | QC | 105-005934-00 | Anti-TPP311 | Anti-TP Positive Control | 3×2.0 mL/vial |  | IVDD | 2°C to 8°C
K03 | Infectious Diseases | Anti-TP | QC | 105-005948-00 | Anti-TPP312 | Anti-TP Positive Control | 6×2.0 mL/vial |  | IVDD | 2°C to 8°C
K04 | Infectious Diseases | HBsAg | Reagent | 105-006063-00 | HBsAg121 | Hepatitis B Surface Antigen (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K04 | Infectious Diseases | HBsAg | Reagent | 105-006069-00 | HBsAg122 | Hepatitis B Surface Antigen (CLIA) | 2×100 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K05 | Infectious Diseases | HBsAg | CAL | 105-006075-00 | HBsAg221 | HBsAg Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K06 | Infectious Diseases | HBsAg | QC | 105-006093-00 | HBsAgN321 | HBsAg Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K06 | Infectious Diseases | HBsAg | QC | 105-006081-00 | HBsAgN322 | HBsAg Negative Control | 6×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K06 | Infectious Diseases | HBsAg | QC | 105-006094-00 | HBsAgP321 | HBsAg Positive Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K06 | Infectious Diseases | HBsAg | QC | 105-006082-00 | HBsAgP322 | HBsAg Positive Control | 6×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K07 | Infectious Diseases | Anti-HBs | Reagent | 105-006064-00 | Anti-HBs121 | Antibody to Hepatitis B Surface Antigen (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K08 | Infectious Diseases | Anti-HBs | CAL | 105-006076-00 | Anti-HBs221 | Anti-HBs Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial C2:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K09 | Infectious Diseases | Anti-HBs | QC | 105-006095-00 | Anti-HBsN321 | Anti-HBs Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K09 | Infectious Diseases | Anti-HBs | QC | 105-006096-00 | Anti-HBsP321 | Anti-HBs Positive Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K10 | Infectious Diseases | HBeAg | Reagent | 105-006065-00 | HBeAg121 | Hepatitis B e Antigen (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K11 | Infectious Diseases | HBeAg | CAL | 105-006077-00 | HBeAg221 | HBeAg Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K12 | Infectious Diseases | HBeAg | QC | 105-006097-00 | HBeAgN321 | HBeAg Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K12 | Infectious Diseases | HBeAg | QC | 105-006098-00 | HBeAgP321 | HBeAg Positive Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K13 | Infectious Diseases | Anti-HBe | Reagent | 105-006066-00 | Anti-HBe121 | Antibody to Hepatitis B e Antigen (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K14 | Infectious Diseases | Anti-HBe | CAL | 105-006078-00 | Anti-HBe221 | Anti-HBe Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K15 | Infectious Diseases | Anti-HBe | QC | 105-006099-00 | Anti-HBeN321 | Anti-HBe Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K15 | Infectious Diseases | Anti-HBe | QC | 105-006100-00 | Anti-HBeP321 | Anti-HBe Positive Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K16 | Infectious Diseases | Anti-HBc | Reagent | 105-006067-00 | Anti-HBc121 | Antibody to Hepatitis B Core Antigen (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K17 | Infectious Diseases | Anti-HBc | CAL | 105-006079-00 | Anti-HBc221 | Anti-HBc Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K18 | Infectious Diseases | Anti-HBc | QC | 105-006101-00 | Anti-HBcN321 | Anti-HBc Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K18 | Infectious Diseases | Anti-HBc | QC | 105-006102-00 | Anti-HBcP321 | Anti-HBc Positive Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K19 | Infectious Diseases | HIV | Reagent | 105-006068-00 | HIV121 | Antigen and Antibodies to Human Immunodeficiency Virus (CLIA) | 2×50 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K19 | Infectious Diseases | HIV | Reagent | 105-006074-00 | HIV122 | Antigen and Antibodies to Human Immunodeficiency Virus (CLIA) | 2×100 tests | Follow Order Cycle | IVDD | 2°C to 8°C
K20 | Infectious Diseases | HIV | CAL | 105-006080-00 | HIV221 | HIV Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K21 | Infectious Diseases | HIV | QC | 105-006103-00 | HIVN321 | HIV Ag/Ab Negative Control | 3×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K21 | Infectious Diseases | HIV | QC | 105-006091-00 | HIVN321 | HIV Ag/Ab Negative Control | 6×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K21 | Infectious Diseases | HIV | QC | 105-006104-00 | HIVP322 | HIV Ag/Ab Positive Control | 6×2.0 mL/vial | Follow Order Cycle | IVDD | 2°C to 8°C
K22 | Infectious Diseases | Anti-HCV | Reagent | 105-024999-A0 | 105-024999-00 | Antibody to Hepatitis C Virus (CLIA) | 2×50 tests | Follow Order Cycle | Class D | 2°C to 8°C
K22 | Infectious Diseases | Anti-HCV | Reagent | 105-025000-A0 | 105-025000-00 | Antibody to Hepatitis C Virus (CLIA) | 2×100 tests | Follow Order Cycle | Class D | 2°C to 8°C
K23 | Infectious Diseases | Anti-HCV | CAL | 105-024994-A0 | 105-024994-00 | Anti-HCV Calibrators | C0:1×2.0 mL/vial C1:1×2.0 mL/vial | Follow Order Cycle | Class D | 2°C to 8°C
K24 | Infectious Diseases | Anti-HCV | QC | 105-024995-A0 | 105-024995-00 | Anti-HCV Negative Control | 3×2.0 mL/vial | Follow Order Cycle | Class D | 2°C to 8°C
K24 | Infectious Diseases | Anti-HCV | QC | 105-024996-A0 | 105-024996-00 | Anti-HCV Positive Control | 3×2.0 mL/vial | Follow Order Cycle | Class D | 2°C to 8°C
L01 | Growth Hormone | hGH | Reagent | 105-037749-A0 | 105-037749-00 | Human Growth Hormone (including calibrator) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
L01 | Growth Hormone | hGH | Reagent | 105-037750-A0 | 105-037750-00 | Human Growth Hormone (including calibrator) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
L02 | Growth Hormone | IGF-1 | Reagent | 105-037773-A0 | 105-037773-00 | Insulin-like Growth Factor 1 (including calibrator) | 2×50 tests (calibrators included) |  | Class B | 2°C to 8°C
L02 | Growth Hormone | IGF-1 | Reagent | 105-037772-A0 | 105-037772-00 | Insulin-like Growth Factor 1 (including calibrator) | 2×100 tests (calibrators included) |  | Class B | 2°C to 8°C
L03 | Growth Hormone | Growth Hormone Multi Control | QC | 105-037812-A0 | 105-037812-00 | Growth Hormone Multi Control (L) | 3×0.80 mL/vial | hGH, IGF-1 | Class B | 2°C to 8°C
L03 | Growth Hormone | Growth Hormone Multi Control | QC | 105-037814-A0 | 105-037814-00 | Growth Hormone Multi Control (H) | 3×0.80 mL/vial | hGH, IGF-1 | Class B | 2°C to 8°C

## Order Cycle
2025H1 CLIA CE Infectious Disease Forecast
Product Name | Forecast | order by | Estimated Stock-in Date | Remain Stability | LOT | Note
HBsAg Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HBs Reagent CE | 2024-12-30 | 2025-03-25 | 2025-06-20 | 15 months | 20250101xx
HBeAg Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-Hbe Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HBc Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
HIV Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HCV Reagent CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
HBsAg Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HBs Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
HBeAg Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-Hbe Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HBc Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
HIV Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
Anti-HCV Calibrator CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx
HBsAg QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
Anti-HBs QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
HBeAg QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
Anti-Hbe QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
Anti-HBc QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
HIV QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative
Anti-HCV QC CE | 2024-12-30 | 2025-03-25 | 2025-05-20 | 15 months | 20250101xx | Both Positive & Negative